Sunil Palak Lab Analyst Microbiology, Calgary, Alberta
General Comments
The analytical methods used by ALS are developed using internationally recognized reference methods (where available), such as those published by US EPA, APHA Standard Methods, ASTM,
ISO, Environment Canada, BC MOE, and Ontario MOE. Refer to the ALS Quality Control Interpretive report (QCI) for applicable references and methodology summaries. Reference methods may
incorporate modifications to improve performance.
Where a reported less than (<) result is higher than the LOR, this may be due to primary sample extract/digestate dilution and/or insufficient sample for analysis.
Where the LOR of a reported result differs from standard LOR, this may be due to high moisture content, insufficient sample (reduced weight employed) or matrix interference.
Additional information pertinent to this report will be found in the following separate attachments: Quality Control Report, QA/QC Compliance Assessment to assist with Quality Review and Sample
Receipt Notification.
When sampling time information is not provided by the client, sampling dates are shown without a time component. In these instances, the time component has been assumed by the laboratory for
processing purposes.
Application of guidelines is provided "as is" without warranty of any kind, either expressed or implied, including, but not limited to fitness for a particular purpose, or non -infringement. ALS
assumes no responsibility for errors or omissions in the information. Guidelines are not adjusted for the hardness, pH or temperature of the sample (the most conservative values are used).
Measurement uncertainty is not applied to test results prior to comparison with specified criteria values.
Key :
LOR: Limit of Reporting (detection limit).
Unit
Description
MPN/100mL most probable number per hundred millilitres
>: greater than.
<: less than.
Red shading is applied where the result or the LOR is greater than the Guideline Upper Limit (or lower than the Guideline Lower Limit, if applicable).
For drinking water samples, Red shading is applied where the result for E.coli, fecal or total coliforms is greater than or equal to the Guideline Upper Limit .
R I G H T S O L U T I O N S | R I G H T 
Analytical Results
SubMatrix: Water Water
(Matrix: )
Client sample ID Client sampling date / time RADIUM RESORT CLUBHOUSE
05-Nov-2025 

CG2516320
Radium Resort
SubMatrix: Water Client sample ID Water. 
(Matrix: )
Client sampling date / time VILLAS
05-Nov-2025 15:05
.No Breaches Found

DUBY SUB DIVISION
05-Nov-2025 15:00. 
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
RADIUM RESORT
CLUBHOUSE
16-Dec-2024
15:00.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
VILLAS
16-Dec-2024
15:05
No Breaches Found
No Breaches Foun
Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
DUBY SUB DIVISION
16-Dec-2024
15:10
.No Breaches Found

alytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
RADIUM RESORT
CLUBHOUSE
02-Dec-2024
15:00
.No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
VILLAS
02-Dec-2024
15:05
.No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
DUBY SUB DIVISION
02-Dec-2024
15:10
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
RADIUM RESORT
CLUBHOUSE
03-Sep-2024
15:00
.No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
VILLAS
03-Sep-2024
15:05
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
DUBY SUB DIVISION
03-Sep-2024
15:10.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
RADIUM RESORT
CLUBHOUSE
20-Aug-2024
15:00.
No Breaches Found
-
Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
VILLAS
20-Aug-2024
15:05.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
DUBY SUB DIVISION
20-Aug-2024
15:10.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
RADIUM RESORT
CLUBHOUSE
07-Aug-2024
15:00.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
VILLAS
07-Aug-2024
15:05.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
DUBY SUB DIVISION
07-Aug-2024
15:10.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
RADIUM RESORT
CLUBHOUSE
23-Jul-2024
15:00.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
VILLAS
23-Jul-2024
15:05.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
DUBY SUB DIVISION
23-Jul-2024
15:10.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
Radium Resort Clubhouse
08-Jul-2024
15:00.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
Villas
08-Jul-2024
15:05.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
Duby Sub Division
08-Jul-2024
15:10.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
Duby Sub Division
08-Jul-2024
15:10.
No Breaches Found
-
Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
RADIUM RESORT
CLUBHOUSE
26-Jun-2024
15:00.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
VILLAS
26-Jun-2024
15:05.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
DUBY SUB DIVISION
26-Jun-2024
15:10
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
RADIUM RESORT
CLUBHOUSE
11-Jun-2024
15:00.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
VILLAS
11-Jun-2024
15:05.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
DUBY SUB DIVISION
11-Jun-2024
15:10.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
RADIUM RESORT
CLUBHOUSE
28-May-2024
15:00.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
VILLAS
28-May-2024
15:05.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
DUBY SUB DIVISION
28-May-2024
15:10.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
RADIUM RESORT
CLUBHOUSE
13-May-2024
15:00.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
VILLAS
13-May-2024
15:05.
No Breaches Found. 

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
DUBY SUB DIVISION
13-May-2024
15:10.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
RADIUM RESORT
CLUBHOUSE
29-Apr-2024
15:00.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
VILLAS
29-Apr-2024
15:05.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
DUBY SUB DIVISION
29-Apr-2024
15:10.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
RADIUM RESORT
CLUBHOUSE
16-Apr-2024
15:00.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
RADIUM RESORT
CLUBHOUSE
02-Apr-2024
15:00.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
VILLAS
02-Apr-2024
15:05.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
DUBY SUB DIVISION
02-Apr-2024
15:10.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
RADIUM RESORT
CLUBHOUSE
25-Mar-2024
15:00.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
VILLAS
25-Mar-2024
15:05.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
DUBY SUB DIVISION
25-Mar-2024
15:10.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
RADIUM RESORT
CLUBHOUSE
04-Mar-2024
15:00.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
VILLAS
04-Mar-2024
15:05.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
DUBY SUB DIVISION
04-Mar-2024
15:10.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
RADIUM RESORT
CLUBHOUSE
21-Feb-2024
15:00.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
VILLAS
21-Feb-2024
15:05.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
DUBY SUB DIVISION
21-Feb-2024
15:10.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
RADIUM RESORT
CLUBHOUSE
05-Feb-2024
15:00.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
VILLAS
05-Feb-2024
15:05.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
DUBY SUB DIVISION
05-Feb-2024
15:10.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
RADIUM RESORT
CLUBHOUSE
22-Jan-2024
15:00.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
VILLAS
22-Jan-2024
15:00.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
DUBY SUB DIVISION
22-Jan-2024
15:00.
No Breaches Found

Analytical Results
Sub-Matrix: Water
(Matrix: Water)
Client sample ID Sampling date/time
DUBY SUB DIVISION
10-Jan-2024
15:10.
No Breaches Found